Green Building Encyclopaedia • Green Building Specification

W21_SWG_RD_PROJECTION

To be read with Preliminaries/General Conditions A10-A55, A90 and Appendix W21

GENERAL

5	BSI Documents referred to in, or relevant to work section W21 include:

BS  476:   :Fire tests on building materials and structures

:1971:Part 7:Surface spread of flame test for materials

BS 6206:1981:(1994):Impact performance requirements for flat safety glass and safety plastics for use in buildings +AMD 4580 +AMD 5189 +AMD 7589 +AMD 8156 +AMD 8693

5A	CEN Documents referred to in, or relevant to work section W21 include:

BS EN 45014:1998:General Criteria for suppliers' declaration of conformity (Formerly BS 7514, Not=to ISO/IEC Guide 22)

5B	ISO Documents referred to in, or relevant to work section W21 include:

UL 94 (Flammability)

5C	DIN German Documents referred to in, or relevant to work section W21 include:

DIN 4102 (Flammability)

DIN 53479 (Apparent density)

DIN 53455 (Tensile strength)

DIN 53455 (Elongation at break)

DIN 53457 (E-modulus in tension)

DIN 53457 (E-modulus in flexure)

DIN 53452 (Flexural strength)

DIN 53453 (Impact strength)

DIN 53505 (Surface hardness Shore)

DIN 53460 (Vicat softening temperature Method A)

DIN 53461 (Coefficient of linear expansion)

DIN 52612 (Thermal conductivity)

DIN 53495 (Water absorption)

5D	Switzerland Documents referred to in, or relevant to work section W21 include:

VKF (Flammability)

5E	AFNOR France Documents referred to in, or relevant to work section W21 include:

NFP 92-501 (Flammability)

NFPA 701 (Flame resistance, Fire rating)

11	RELATED WORK SECTIONS Refer to the following sections for additional requirements relating to work section W21:

A90	PERFORMANCE SPECIFICATION

M60	PAINTING/CLEAR FINISHING

P20	UNFRAMED ISOLATED TRIMS/SKIRTINGS/SUNDRY ITEMS

W12	PUBLIC ADDRESS/CONFERENCE AUDIO FACILITIES

W20	RADIO/TV/CCTV

Z20	FIXINGS/ADHESIVES

11A	RELATED APPENDIX Refer to the following sections for additional requirements relating to work section W21:

W21 SWA A+I	APPLICATORS AND INSTALLERS & EQUIPMENTS

W21 SWA M+S	MANUFACTURER & SUPPLIERS

W21 SWA CON	CONSULTANTS

SPA DofC	DECLARATION OF CONFORMITY

SPA SoMR	STATEMENT OF MANUFACTURER’S REVIEW

END	END OF W21_SWG_RD_Projection

Clause(s) on previous pages

NB: NOTES ON EDITING SPECIFICATIONS:

Use as guidance, a stand alone appendix or merge into work section.

Delete all of the Information on this and other pages of guidance notes, excluding the page break above, down to the end of NBS compatibility URLs (website addresses), when adding this work section or clauses to a project specification or purchase order.

Edit the clauses by selecting the clauses required, deleting any not required, by editing the [blue text which often describes options available] within square brackets to suit the project; or edit the specification to suit the procurement method.

Remove all square brackets using search for [ and replace with nothing and search for ] and replace with nothing.

Replace blue text with black text by selecting all and choosing auto or black colour text.

There are clauses in Red text in the Specification these are examples of project specific versions of the generic clauses that are included for guidance and are likely to be deleted or edited if they are useful to the project.

Remove any grey tone by selecting all text, and select Format > Borders and Shading > Shading > No fill > Okay.

© 2000-2016 GBE NGS ASWS BrianSpecMan

REV	Revisions

| Revision No. | Description | Author | Date | Checked by: |
| --- | --- | --- | --- | --- |
| A00 | Extracted from W21 A02 | BRM | 08/04/07 |  |
| A01 | File name changed Terms and Conditions etc. added Minor format changes | BRM | 30/12/07 |  |
| B02 | Update NGS to GBE logo, update T&Cs Reviewed, post on Website | BRM | 27/03/16 |  |

Terms and Conditions

1 The ‘Information’

1.1	The ‘Green Building Specification’ (GBS) and ‘GBS Robust Specification’ are services provided by National Green Specification (NGS) and now distributed via Green Building Encyclopaedia (GBE) website.

1.2	This specification was prepared for NGS and ‘Green Building Specification’ (GBS) by Architectural Specification Writing Services (ASWS).

1.3	GBS GBE NGS and ASWS specification approach is based on >30 years and >£2415m PROJECT specification commissions, information gathered from seminars, workshops, published information. Etc.

1.4	The specification clauses in this document (the 'Information') are based on information assimilated from published or unpublished verbal and written information from manufacturers, etc.

1.5	The Information will continue to be developed and current files will be maintained on the GBE website at www.greenbuildingencyclopaedia.uk

2 Copyright Notice

2.1	Copyright and all other intellectual property rights in the Information shall remain at all times the property of NGS and you shall acquire no rights in any such material except as expressly provided in this Agreement.

2.2	You are permitted to reproduce any part or parts either alone or in conjunction with your own material for the purposes of internal use in the your office, or for inclusion in any drawings or contract documents used or intended to be used in connection with a building contract where you are contracting party, or in connection with which you are engaged by one of the contracting parties in a professional capacity.

2.3	You shall not use, sell, assign, rent, sub-license, loan, or otherwise deal in any way in the Information or any 	interest in it except as expressly provided herein.

3 Disclaimer

3.1	Whilst NGS endeavours to ensure that the Information is correct, it is provided on an "as is" basis, without warranties of any kind, and no warranty, express or implied, is given as to accuracy, currency or completeness and NGS does not accept any liability for any error or omission.  NGS shall not be liable for any third party claims or losses of any nature including, but not limited to, loss of profits, direct, indirect, special or consequential damages arising from a third party's use or inability to use this Information.

3.2	All users and others must verify the contents of the Information and ensure that its application is effective to communicate what is required by them and that the Information is fit for their intended use which has not been specified by NGS.

3.3	NGS accepts no responsibility for the content on any internet website to which a hypertext link from this specification exists. The links are provided "as is" with no warranty, express or implied, for the information provided within them.

4 General

4.1	These terms and conditions may be revised from time to time without prior notice.

4.2	If any part of this Agreement is held by a court of competent jurisdiction to be unenforceable the validity of the remainder of the Agreement will not be affected.

4.3	This Agreement is covered by the Laws of England and Wales.

______________________________________________________

Addenda

NBS compatibility

National Building Specification (NBS) is the industry standard specification library.

NGS’s Green Building Specification (GBS) and Robust Specifications (GBS RS) are designed to complement NBS.

NGS clauses are written specifically to address issues of environmental sustainability.

NBS adopts and develops the Construction Project Information Committee’s (CPIC) classification system Common Arrangement of Work Sections (CAWS) 1998 edition.

GBS adopts and develops the CPIC and NBS versions of CAWS to enable integration into NBS-based specifications.

GBS adopts NBS clause numbering to provide for easy clause assimilation.

CPIC: http://www.cpic.org.uk

CAWS: http://www.cpic.org.uk/en/publications/common-arrangement-listing.cfm

NBS: www.thenbs.com/

GBE website: www.greenbuildingencyclopaedia.uk

GBE shop: www.greenbuildingencyclopaedia.uk/shop/