J A90 A DEM	APPENDIX: DECLARATION ON EXCLUDED MATERIALS

[To be read with section A90/92, and other work section's clause 53.]

5	OTHER DOCUMENTS referred to in the Appendix: J 90 A DEM include:

[APP DofC APPENDIX: DECLARATION OF CONFORMITY]

"DECLARATION ON EXCLUDED MATERIALS"

We  _________ .

(insert supplier's name).

Of  _________ .

(insert supplier's address).

WE DECLARE UNDER OUR SOLE RESPONSIBILITY, that the commodities (materials, recipe ingredients, products, components, pre-treatments, primers, accessories, additives, finishes) and their methods of installation/application;

partially or wholly specified by the [design team,]

proposed or substituted by the [Contractor, sub contractor and it's/their design team,]

and used in the Works;

are to the best of our knowledge and current Construction Industry published information, case law, advertising, etc.:

fit for purpose and not excluded by the [Employer/designer/specifier,]

and not deleterious in their own right and in the particular use to which it is specified or used:

to the health and safety of building and maintenance operatives and it's occupants, to the performance and durability of the building, its surroundings and the environment and to the demolition or alteration operatives and waste handlers.

Following provision of relevant directives, legislation, regulation & guidance including those listed in the following schedules:

PLACE OF ISSUE:  _________

(insert place of issue).

DATE:  _________

(insert date of issue).

NAME:  _________

(insert name of authorised person (a Director)).

AUTHORITY OR POSITION IN ORGANISATION:  ___________

(insert Director or type of Director)

SIGNATURE OR EQUIVALENT MARKING:  _________

(insert signature or equivalent marking of Authorised Person (a Director).

COMPANY OR ORGANISATION: __________

(insert name of company or organisation)

COMPANY'S OR ORGANISATION'S CAPACITY ON PROJECT:  __________

(insert Main Contractor, Sub-contractor, supplier, merchant, manufacturer as applicable)

SUPPLEMENTARY INFORMATION:

(Schedule any relevant test results etc. on an attached sheet, to substantiate the declaration).

[Montreal Protocol

1992 Copenhagen amendment to the Montreal Protocol]

EU DIRECTIVE(S) & REGULATIONS & UK REGULATIONS: [

EC/3093/94:(Ozone-Depleting chemicals)],

EC/2037/2000 (Ozone Depleting Substances (ODS)

Waste from Electrical and Electronic Equipment (WEEE)

Restriction of the use of certain hazardous substances in Electrical and Electronic Equipment (ROHS)

Registration, Evaluation, Authorisation & restriction of CHemicals (REACH)

Biocidal Products Regulation.

STATUTORY INSTRUMENTS: [

SI 1974/    :Health & Safety at Work Act 1974.

SI 1992/    :Management of Health and Safety at work Regulations 1992.

SI 1992/2865:Management of Health and Safety at work (Amendment) Regulations 1994.

SI 1992/3004:Workplace (Health, Safety And Welfare) Regulations 1992.

SI 1996/1592:Construction (Health, Safety and Welfare) Regulations 1996.

SI 2006/1510 The Ozone Depleting Substances (Qualifications) Regulations 2006

SI 2002/____:The Control of Substances Hazardous to Health Regulations 2002. (COSHH)

SI 2007/____:Construction (Design and Management) Regulations 2007. (CDM)

HEALTH AND SAFETY EXECUTIVE: GUIDANCE DOCUMENTS:

Environmental Hygiene:

EH40:2005:Occupational Exposure Limits.

EH46:1990:Man made mineral fibres.

Control of substances hazardous to health - General Approved Code of Practice, 2nd. edition 1995.

The Control of Substances Hazardous to Health in the construction industry 1989 (out of print)

L23 Manual Handling: Manual Handling Operations Regulations- guidance on Regulations 2012.

L21 Management of health and safety at work: Management of Health and Safety at Work Regulations 2013.

L54 Managing Construction for health and safety: Construction (Design and Management) Regulations 1994],

(if relevant insert name of Directive or its Interpretative Regulation(s), if not relevant delete item).

BERR GUIDANCE DOCUMENTS:

Guidance on the new EC Regulation no 2037/2000 on substances that deplete the ozone layer

REACH RELATED DOCUMENTS

MATERIALS EXCLUDED BY THE EMPLOYER & DESIGNER:

Note that, irrespective of this Specification, the following materials are not to be used in the manufacture of materials nor in the construction of the project:

If any materials listed in this clause are found to be present in any specified materials, the CA must be informed immediately.

Seek further instruction to suit the programme.

E10	IN SITU CONCRETE MIXES, CASTING AND CURING

Concrete additives containing calcium chloride

High alumina cement

Unwashed sea-dredged aggregates

Concrete that may be especially susceptible to alkali/silica reaction

F10	BRICK/BLOCK WALLING

Calcium silicate bricks or tiles

Slip-bricks

Resin coated blocks

Proprietary blocks having a crushing strength of less than 3.5 kN/m2

F30	ACCESSORIES/SUNDRY ITEMS FOR BRICK/BLOCK/STONE WALLING

Concrete or mortar additives containing calcium chloride

Bitumen coated polythene for use as a DPC

Pitch in DPCs

Insulation products containing UF Urea Formaldehyde

Chlorine

PCB Polychlorinated biphenols

PVC Poly vinyl chloride, PVC-U, uPVC, PVC-UE

CFC ChloroFluoroCarbons,

HCFC HydroChloroFluoroCarbons,

HFC HydroFluoroCarbons (ZODP),

HFA HydroFluoroAlkane (includes CFC & HCFC)

Chlorinated Polyethylene

PAH Polyaromatic Hydrocarbons which are carcinogenic on skin contact.

H42	PRECAST CONCRETE PANEL CLADDING/FEATURES

Concrete or mortar additives containing calcium chloride

High alumina cement

Calcium silicate bricks or tiles

Unwashed sea-dredged aggregates

Concrete that may be especially susceptible to alkali/silica reaction

J40	FLEXIBLE SHEET TANKING/DAMP PROOF MEMBRANES & INSULATION

Chlorine

Chlorinated Polyethylene

PVC Poly vinyl chloride, PVC-U, uPVC, PVC-UE

CFC ChloroFluoroCarbons,

HCFC HydroChloroFluoroCarbons,

HFC HydroFluoroCarbons (ZODP),

HFA HydroFluoroAlkane (includes CFC & HCFC)

J42	SINGLE LAYER POLYMERIC ROOFING MEMBRANES & INSULATION

PVC Poly vinyl chloride, PVC-U, uPVC, PVC-UE

CFC ChloroFluoroCarbons,

HCFC HydroChloroFluoroCarbons,

HFC HydroFluoroCarbons (ZODP),

HFA HydroFluoroAlkane (includes CFC & HCFC)

Ozone depleting solvents

Trichloroethane

M60	PAINTING/CLEAR FINISHING

Polychlorinated biphenols

Added lead

Ozone depleting solvents

Trichloroethane

P10	INSULATION

Ozone depleting substances

CFC ChloroFluoroCarbons,

HCFC HydroChloroFluoroCarbons,

HFC HydroFluoroCarbons (ZODP),

HFA HydroFluoroAlkane (includes CFC & HCFC)

N10	GENERAL FURNITURE FIXTURES & EQUIPMENT

Ozone depleting substances

Q25	SLAB/BRICK/SETT/COBBLE PAVINGS

Sand for bedding to be free from deleterious salts, contaminants and cement.

T60	Central Refrigeration Plant

Ozone depleting substances

S70	Gas Fire Fighting

Ozone depleting substances

Z11	PURPOSE MADE METALWORK

PFC perfluorocarbon

Z12	PRESERVATIVE/FLAME RETARDANT TREATMENT

Preservative treatment: CCA to Z12/151,

Copper Chrome Arsenic preservative treatment

Creosote preservative treatment

Pento-chlorophenols used for timber treatment

Z22	SEALANTS

Ozone depleting solvents

Trichloroethane

WASTE PRODUCTS

M60	PAINTS

paint and varnish containing organic solvents or other dangerous substances (DS)

sludges from paint for varnish containing organic solvents or other dangerous substances (DS)

aqueous sludges containing paint or varnish containing organic solvents or other dangerous substances (DS)

wastes from paint or varnish removal containing organic solvents or other dangerous substances (DS)

aqueous suspensions containing paint or varnish containing organic solvents or other dangerous substances (DS)

waste paint or varnish remover

Z12	PRESERVATIVE/FLAME RETARDANT TREATMENT

non-halogenated organic wood preservatives

organochlorinated wood preservatives

organometallic wood preservatives

inorganic wood preservatives

other wood preservatives containing dangerous substances (DS)

Z20	ADHESIVES AND SEALANTS (INCLUDING WATERPROOFING PRODUCTS)

waste adhesives and sealants containing organic solvents or other dangerous substances (DS)

adhesives and sealants sludges containing organic solvents or other dangerous substances (DS)

aqueous sludges containing adhesives or sealants containing organic solvents or other dangerous substances (DS)

aqueous liquid waste containing adhesives or sealants containing organic solvents or other dangerous substances (DS)

rosin oil

waste isocyanates

OIL WASTES AND WASTES OF LIQUID FUELS

hydraulic oils, containing PCBs

chlorinated emulsions

non-chlorinated hydraulic oils

mineral-based chlorinated hydraulic oils

mineral based non-chlorinated hydraulic oils

synthetic hydraulic oils

readily biodegradable hydraulic oils

other hydraulic oils

WASTE ENGINE, GEAR AND LUBRICATING OILS

mineral-based chlorinated engine, gear or lubricating oils

mineral-based non-chlorinated engine, gear and lubricating oils

synthetic engine, gear and lubricating oils

readily biodegradable engine, gear and lubricating oils

other engine, gear and lubricating oils

WASTE INSULATING AND HEAT TRANSMISSION OILS

insulating or heat transmission oils containing PCBs

mineral-based chlorinated insulating and heat transmission oils

mineral-based non-chlorinated insulating and heat transmission oils

synthetic insulating and heat transmission oils

readily biodegradable insulating and heat transmission oils

other insulating and heat transmission oils

OIL/WATER SEPARATOR CONTENTS

solids from grit chambers and oil/water separators

sludges from oil/water separators

interceptor sludges

oil from oil/water separators

oily water from oil/water separators

mixtures of wastes from grit chambers and oil/water separators

WASTES OF LIQUID FUELS

fuel oil and diesel

petrol

other fuels (including mixtures)

WASTE ORGANIC SOLVENTS, REFRIGERANTS AND FOAM/AEROSOL PROPELLANTS

Chloroflourocarbons (CFC), HCFC, HFC

other halogenated solvents and solvent mixtures

other solvents and solvent mixtures

sludges or solid wastes containing halogenated solvents

sludges or solid wastes containing other solvents

PACKAGING (INCLUDING SEPARATELY COLLECTED MUNICIPAL PACKAGING WASTE)

packaging containing residues of or contaminated by dangerous substances

metallic packaging containing a dangerous solid porous matrix (for example asbestos), including empty pressure containers

ABSORBENTS, FILTER MATERIALS, WIPING CLOTHS AND PROTECTIVE CLOTHING

absorbents, filter materials, wiping cloths, protective clothing contaminated by dangerous substances (DS)

BATTERIES AND ACCUMULATORS

lead batteries

Ni-Cd batteries

mercury-containing batteries

CONCRETE, BRICKS, TILES AND CERAMICS

mixtures of, or separate fractions of concrete, bricks, tiles and ceramics containing dangerous substances (DS)

WOOD, GLASS AND PLASTIC

glass, plastic and wood containing or contaminated with dangerous substances (DS)

BITUMINOUS MIXTURES, COAL TAR AND TARRED PRODUCTS

bituminous mixtures containing coal tar

coal tar and tarred products

METALS (INCLUDING THEIR ALLOYS)

metal waste contaminated with dangerous substances (DS)

cables containing oil, coal tar and other dangerous substances (DS)

SOIL (INCLUDING EXCAVATED SOIL FROM CONTAMINATED SITES), STONES AND DREDGING SPOIL

soil and stones contaminated with dangerous substances (DS)

dredging spoil containing dangerous substances (DS)

track ballast containing dangerous substances (DS)

INSULATION MATERIALS AND ASBESTOS-CONTAINING CONSTRUCTION MATERIALS

insulation materials containing asbestos

other insulation materials consisting of or containing dangerous substances (DS)

GYPSUM-BASED CONSTRUCTION MATERIALS

gypsum-based construction materials contaminated with dangerous substances (DS)

OTHER CONSTRUCTION AND DEMOLITION WASTES

construction and demolition wastes containing mercury

construction and demolition wastes containing PCB (for example:

PCB-containing sealants,

PCB-containing resin-based floorings,

PCB containing sealed glazing units,

PCB-containing capacitors)

If any materials listed in this clause are found to be present in any specified materials, the PM must be informed immediately.  See further instruction.

END OF J A90 A DEM APPENDIX: DECLARATION ON EXCLUDED MATERIALS.

.

Clause(s) on previous pages

NB: NOTES ON EDITING SPECIFICATIONS:

Delete all of the Information on this and other pages of guidance notes, excluding the page break above, down to the end of NBS compatibility URLs (website addresses), when adding this work section or clauses to a project specification or purchase order.

Edit the clauses by selecting the clauses required, deleting any not required, by editing the [blue text which often describes options available] within square brackets to suit the project; or edit the specification to suit the procurement method.

Remove all square brackets using search for [ and replace with nothing and search for ] and replace with nothing.

Replace blue text with black text by selecting all and choosing auto or black colour text.

There are clauses in Red text in the Specification these are examples of project specific versions of the generic clauses that are included for guidance and are likely to be deleted or edited if they are useful to the project.

Remove any grey tone by selecting all text and choosing none.

© NGS 2000-2013

REV	REVISIONS

| Revision No. | Description | Author | Date | Checked by: |
| --- | --- | --- | --- | --- |
| A00 | For DRAFT issue to post on website for review | BRM | 04/03/2007 |  |
| A01 | Renamed file to SPA_DoEM_DeclareExclMat.doc Minor revisions and additions Copyright, Disclaimer updated and minor format changes | BRM | 24/12/2007 |  |
| B02 | Post on scribd | BRM | 21/05/2010 |  |
| A03 | Rearrange content and update content REACH clause added | BRM | 14/08/2013 |  |
| A04 | ASWS logo Issued to EcoShowcase seminar USB memory stick Post on www.greenspecdownload.co.uk | BRM | 23/09/2013 |  |

Terms and Conditions

1 The ‘Information’

1.1 The ‘Green Building Specification’ (GBS) is a service provided by National Green Specification (NGS). These terms and conditions may be revised from time to time without prior notice.

1.2 This draft specification was prepared for the NGS GBS by Architectural Specification Writing Services (ASWS).

1.3 The specification clauses in this document (the 'Information') are based on past project work, information gathered from seminars, workshops and assimilated from published or unpublished verbal and written information.

1.4 The Information will continue to be developed and current files will be maintained on the NGS website at www.greenspecdownload.co.uk

2 Copyright Notice

2.1 Copyright and all other intellectual property rights in the Information shall remain at all times the property of NGS and you shall acquire no rights in any such material except as expressly provided in this Agreement.

2.2 You are permitted to reproduce any part or parts either alone or in conjunction with your own material for the purposes of internal use in the your office, or for inclusion in any drawings or contract documents used or intended to be used in connection with a building contract where you are contracting party, or in connection with which you are engaged by one of the contracting parties in a professional capacity.

2.3 You shall not use, sell, assign, rent, sub-license, loan, or otherwise deal in any way in the Information or any interest in it except as expressly provided herein.

3 Disclaimer

3.1 Whilst NGS endeavours to ensure that the Information is correct, it is provided on an "as is" basis, without warranties of any kind, and no warranty, express or implied, is given as to accuracy, currency or completeness and NGS does not accept any liability for any error or omission. NGS shall not be liable for any third party claims or losses of any nature including, but not limited to, loss of profits, direct, indirect, special or consequential damages arising from a third party's use or inability to use this Information.

3.2 All users and others must verify the contents of the Information and ensure that its application is effective to communicate what is required by them and that the Information is fit for their intended use which has not been specified by NGS.

3.3 NGS accepts no responsibility for the content on any internet website to which a hypertext link from this specification exists. The links are provided "as is" with no warranty, express or implied, for the information provided within them.

4 General

4.1 If any part of this Agreement is held by a court of competent jurisdiction to be unenforceable the validity of the remainder of the Agreement will not be affected.

4.2 This Agreement is covered by the Laws of England and Wales.

______________________________________________________

Addenda

NBS compatibility

The National Building Specification (NBS) is the industry standard specification library.

The NGS GBS is designed to complement the NBS.

NGS GBS clauses are written specifically to address issues of environmental sustainability.

NBS adopts and develops the Construction Project Information Committee’s (CPIC) classification system Common Arrangement of Work Sections (CAWS) 1998 edition.

NGS adopts and develops the CPIC and NBS versions of CAWS to enable integration into NBS-based specifications.

NGS adopts NBS clause numbering to provide for easy clause assimilation.

CPIC: www.productioninformation.org/

CAWS: www.productioninformation.org/CAWS.asp

Proposed changes: www.productioninformation.org/cawsuni/topcawsuni.asp

NBS: www.thenbs.com/

_______________________________________________________________________